## Slide 1: Status Report #16
2020. Feb 27 (Thu)
B4 FUJIWARA Tomomasa
Prepare for B4 thesis presentation
New Board design
ToF cosmic: 5 mm thickness

## Slide 2: New circuit design
Series connection (直列)
Parallel connection (並列)

## Slide 3: ToF cosmic: 5 mm thickness scintillator at Vb = 44.7 V
New scintillator
t = 5 mm
w = 11 mm

## Slide 4: ToF cosmic: 5 mm thickness scintillator at Vb = 44.7 V
Raw ToF vs. QDCs
5 mm
10 mm

## Slide 5: ToF cosmic: 5 mm thickness scintillator
Compare QDC dist. w/ 10 mm thickness
Cyan: 5 mm
Magenta: 10 mm
MPV: ~27 pC
MPV: ~27 pC
MPV: ~57 pC
MPV: ~39 pC

## Slide 6: Time Walk Correction

## Slide 7: ToF dist. After time walk correction

## Slide 8: Consideration
Threshold too high ?
R-1, 2: ~ -140 - 180 mV (MIP ~ -760 mV )
L-1, 2: ~ -280 mV (MIP ~ -570 mV)
High rate w/ β – ray : ~ 100k Hz
Light leakage ??

## Slide 9: Retry after repair at Vb = 44.7 V
Raw ToF vs. QDCs

## Slide 10: Retry after repair at Vb = 44.7 V

## Slide 11: Retry after repair at Vb = 44.7 V

## Slide 12: To do next
B4 thesis presentation (tomorrow)
Bias scan w/ 5 mm thickness scintillator: Vb – Vop = 0.0, +3.0, +6.0 V
Test w/ 22 & 44 mm width scintillator (Now: 11 mm )

## Slide 13: New circuit design
Parallel connection (並列)

## Slide 15: ToF: thickness & width study
Before Time walk correction

## Slide 16: ToF: thickness & width study