## Slide 1: Status Report #15
2020. Feb 20 (Thu)
B4 FUJIWARA Tomomasa
ToF: Beam time data analysis
ToF: Cosmic
New circuit design
This week

## Slide 2: Beam time data analysis
Checked pedestal distribution in high voltage region
Vb – Vop = 49.7V

## Slide 3: Beam time data analysis
Checked pedestal distribution in high voltage region
Vb – Vop = 9.0 V
Vb – Vop = 12.0 V
Vb – Vop = 11.0 V
Vb – Vop = 10.0 V

## Slide 4: Beam time data analysis
In 53.2V (+13.5V) & 56.7 V (+15.0V)
Vb – Vop = 15.0 V
Vb – Vop = 13.5 V

## Slide 5: Beam time data analysis
In 56.7V (Linear scale)

## Slide 6: Beam time data analysis: Pedestal

## Slide 7: ToF: Cosmic-ray –check cable length dependence-
Pedestal distribution
Scaled peak = 1

## Slide 8: ToF: Cosmic-ray –check cable length dependence-
QDC dist. (Calibrated by pedestal = 0)

## Slide 9: ToF: Cosmic-ray –check cable length dependence-
MIP: Center value with Maximum entry at QDC dist
Slightly decreased MIP value

## Slide 10: ToF: Cosmic-ray –check cable length dependence-

## Slide 11: ToF: Cosmic-ray –check cable length dependence-
Check additional cable length dependence of Timing resolution:
Reference value: → defined by average of at Vb - Vop = +3.0V (Vb = 44.7V)
Error of : derived from propagation of error,

## Slide 12: ToF: Cosmic-ray –check cable length dependence-
Fit as the function of additional cable length
Functional type:

## Slide 13: ToF: Cosmic-ray –Connection dependence-
Magenta: scintillator staggered
Cyan: scintillator unstaggered

## Slide 14: New Scintillator: t = 5mm
Started data taking with different thickness scintillator: 5t×11w×300h mm

## Slide 15: New Circuit design for ToF (MPPC)
Future plan: Study about readout method
Series connection: 直列
Parallel connection: 並列
Task: Design for PCB of each type.
Now: Making Series ver.

## Slide 16: To do next
Design new circuit: ~Tomorrow (or next week??)
Scintillator Thickness & width study (Bias & Length) by cosmic-ray
Prepare for second presentation of B4 thesis

## Slide 17: 余談
From my presentation of B4 thesis mid-term presentation

## Slide 18: 余談
似てる(??)
(並べてみたら言うほどでもありませんでした…)

## Slide 19
Output form MPPC
Bias supply Vb

## Slide 26: New circuit design using CADLUS X
In CADLUS X, There’s no model of 6-PIN connector (21602X3GSE)
But 4-PIN model (21602X4GSE) exists.
1.27 mm