## Slide 1: Status Report #14
2020. Feb 13 (Thu)
B4 FUJIWARA Tomomasa
Midterm presentation of B4 thesis
ToF: Cosmic-ray
ToF: Beam time data analysis

## Slide 2: ToF: Cosmic-ray
Check: Bias dependence, cable length dependence
Bias: taking 3 points
→ 41.7V, 44.7V, 47.7V: +0.0V, +3.0V, +6.0V (from Vop = 41.7 V)
cable length: taking 6 points
→ initial, +6 ns, +12 ns, +16 ns, +48ns, +80ns (Bias: fixed at +3.0 V)

## Slide 3: ToF: Cosmic-ray –Result-
Result: Bias dependence

## Slide 4: ToF: Cosmic-ray –Result-
Comparison to data at ELPH

## Slide 5: ToF: Cosmic-ray –Result-
Result: Cable dependence
Initial

## Slide 6: ToF: Cosmic-ray –Pedestal-
Width: Typically ~4ch

## Slide 7: ToF: Cosmic-ray –Pedestal-
At + 80 ns delay
Width: ~5 - 6 CH

## Slide 8: ToF: Cosmic-ray
Check gain using β-ray source
R-1 -580mV
10.0 nsec
100 mV
R-2 -340mV
L-2 -460mV
L-1 -350mV

## Slide 9: ToF: Cosmic-ray –connection between scintillator to MPPC-
Unmounted scintillator & MPPC → Mount scintillators staggered 2~3mm

## Slide 10: ToF: Cosmic-ray –connection between scintillator to MPPC-
Unmounted scintillator & MPPC → Mount scintillators staggered 2~3mm
Check gain using β-ray source
R-1 -480mV
L-1 -300mV
L-2 -420mV
R-2 -320mV
10.0 nsec
100 mV

## Slide 11: ToF: Beam time data analysis
Checked Pedestal distribution for Vb=44.7 V run
Pedestal dist. = QDC with TDC ≦ 0 at all readout
For run165
Decision of pedestal value
*Fit with gaussian → μ = pedestal
σ = width

## Slide 12: Pedestal dist. of run0165 in log scale
In log scale
There are tale distribution

## Slide 13: Pedestal dist. of run0177
run0177

## Slide 14: Pedestal dist. of run0179
run0179

## Slide 15: Pedestal dist. of run0189
Run0189
For each run, width~5ch

## Slide 16: Pedestal vs. Event num.
Only R-1 for simplicity
in 177, 179 and 189
→ strange structure.

## Slide 17: To do next
ToF: continue to taking data with cosmic
Circuit design: learning CAD

## Slide 18: Back up

## Slide 20: Pedestal dist. of run0165
Fit with double-gaussian
Subtly not to work out fitting...