## Slide 1: Status Report #13
2020. Jan 31 (Fri)
Tomomasa FUJIWARA
ToF: cosmic ray data
New circuit design
Beamtime data analysis
Writing Final-term report
Item

## Slide 2: ToF: Cosmic ray
Purpose
  Check consistency with data at ELPH
Setup
  Bias voltage Vb: 44.7V
  Threshold(R1, R2, L1, L2): -58.2, -35.2, -78.6, -51.4
  → decided to avoid noise by checking on oscilloscope
Start: 2020/01/22 19:14
Taken Event: ~7000/day by scaler and PC display
Stop: 2020/01/27 18:55
Accident (やらかしました...)
  There were 2 DAQ running at the same time....
  On scaler ~ 38000 events, DAQ stopped at ~15689 ....
ToF - R
ToF - L
R1
R2
L1
L2
→
2020/01/24 19:16
Request
Accept

## Slide 3: ToF: Cosmic ray
Result -brief-
mean of R.TDC - mean of L.TDC
vs. QDC of each MPPC
Notation:
r: raw (no TWC)
d: after TWC
m: mean of 1 & 2
R: ToF-R
L: ToF-L
T: TDC
Q: QDC

## Slide 4: ToF: Cosmic ray
Comparison: cosmic vs. beam
⇓This time (cosmic)
⇓Data at ELPH (beam) : run0177 (Vb = 44.7V)

## Slide 5: ToF: Cosmic ray
Time walk correction
⇓ Before
⇓ After

## Slide 6: ToF: Cosmic ray
ToF hist.

## Slide 7: ToF: Cosmic ray
For each MPPC ,
Getting QDC peak position
→ Definition the lower limits for QDC-cut
0.7(Peak - pedestal) + pedestal
Adding QDC-cut
2-pattern
R1 || R2 || L1 || L2
⇒各MPPC に対し, いずれかが下限値より上
R1 && R2 && L1 && L2
⇒各MPPCに対し, すべてで下限値を超える

## Slide 8: ToF: Cosmic ray
Pattern: 1 All OR

## Slide 9: ToF: Cosmic ray
Pattern: 2 All AND
??

## Slide 10: Beam time data analysis
Checked run summary between run0177 to 0179
*Hall access
→but ToF not touched...
*Vb (Bias) was not changed
*Beam stopped ~30min
Checked number of event
run number | size (before TDC cut) | size (After TDC cut)
165 | 18662 | 6768
177 | 11000 | 3863
179 | 11456 | 1779
189 | 11577 | 5322

## Slide 11: Beam time data analysis
QDC for each MPPC

## Slide 12: Beam time data analysis
TDC for each MPPC

## Slide 13: Beam time data analysis
mean of TDC hist for R & L
Shifted positions of peak
from run0165 to other
⇒Effect of threshold changed ??
⇒ Why run0177 shifted?

## Slide 14: New (?) circuit design
Circuit for MPPC
MPPC & board between amp circuit
⇒ connected with only connecter
⇒ Unstable
Necessary for new circuit
Start leaning CAD
Installed application for design circuit diagram (CADLUS circuit, CADLUS X) and simulation tool (LT Spice)
Now: learning how to draw circuit diagram
Practice theme
from Nagao-san
Draw with ‘LT Spice’

## Slide 15: New (?) circuit design
On progress
Draw on
CADLUS circuit

## Slide 16: To do next
Learning how to draw body wiring diagram
Preparation for 卒研発表 ⇒ make presentation

## Slide 17: run. 176 pedestal & TDC-peak

## Slide 18
run. 176
raw.ToF vs. QDCs

## Slide 19: run. 176
ToF vs. QDCs
After TDC-cut

## Slide 20: run. 176

## Slide 21: run. 176

## Slide 22: run. 176

## Slide 23: run. 176

## Slide 24: run. 177

## Slide 25: run. 177

## Slide 26: run. 177

## Slide 27: run. 177

## Slide 28: run. 177

## Slide 29: run. 177

## Slide 30: run. 177

## Slide 32: Simulation for circuit
今後のToFの使うための新しい回路の設計を始めた

## Slide 33
宇宙線測定 解析結果
*ペデスタルの取得

## Slide 34
生の上下のTDC meanの差
vs. 各MPPCのQDC 相関

## Slide 35
L1 & L2 に対する Time walk correction

## Slide 36
R1 & R2 に対する Time walk correction

## Slide 37
全MPPC に対しての
Time walk correction 後の
ToF vs. QDCs 相関