## Slide 1: Status Report #18
2020. 03. 11 (Wed)
B4 FUJIWARA Tomomasa
About modules (PM amp)
ToF frame reconstruction
ToF cosmic: t=11, w=22 mm
TDC & QDC distribution

## Slide 2: About modules
ToF cosmic-ray ⇒ using PM amp w/ offset.
2 weeks ago different modules (PM amp w/o offset + quad mixer)
⇒ strange performance
Different value run by run…

## Slide 3: About modules
Comparison between modules
マジェンタ: 新しく用意したモジュール
水色: 元のモジュール
明らかにペデスタルが太い

## Slide 4: About modules
宇宙線取得時のデータ
ランの途中からQDCが飛んでいるCHがある
現在: 結局元のPM amp を使用中…

## Slide 5: ToF frame reconstruction
Conventional frame structure
For w=11 mm scintillator
MPPC: S14160-3015PE
Scintillator: t=5, w=11 [mm]
~ 3 mm
11 mm
Beam direction

## Slide 6: Problem of current setup and my solution
Concern: when using w=44 mm scintillator, Interfere the surface of scintillator and solder ?
Change the method of connection
~20 mm

## Slide 7: New frame
Scintillators mounted
旧ToF R
(t=5, w=11 mm)
旧ToF L
(t=w=10 mm)
455 mm

## Slide 8: ToF: 5t × 22w mm scintillator
Check bias dependence:
Vb-Vop = 0.0, 3.0, 6.0 [V]

## Slide 9: Status of ToF cosmic: run076 (2020. 03. 07 15:24 時点)
1454 min. (1 day 0 h 10 min. )
Rate: ~ 9 counts/min.
(1 counts/6~7 sec くらい)
※ 5t × 11w mm: ~6-7 counts/min
 | Counts
Request | 12730
Accept | 12729

## Slide 10: Result: t=5, w=22 mm scintillator
Result Bias dependence

## Slide 11: TDC distribution check
Check correlation of QDC &TDC at same scintillator (R-1 vs. R-2 & L-1 vs. L-2)
run065 ToFR: t=5, w=11. ToFL: t=w=10 [mm]. Vb=44.7 V

## Slide 12: TDC distribution check

## Slide 13: Difference between left and right TDC
There are 3 peak structure

## Slide 14: Correlation of difference TDC
They have the linear relation ?
Fit with linear function :
(L1 .tdc- L2.tdc) = A(R1.tdc –R2.tdc) + B
A = 0.7588 ± 0.01132
B = 0.9091 ± 0.02133
But I could not explain mean of the result.

## Slide 15: Geometrical average of both side of QDC
両端のMPPCのQDCが小さいイベントを選ぶため
QDC (- pedestal) の相乗平均の分布を調べた
⇒ この分布に対し Landau 関数をフィッティング
⇒ (ピークの位置)×0.7 以下のQDCのみを選んだ

## Slide 16: QDC & TDC dist. after cut

## Slide 17: Difference of TDC dist. w/ QDC cut
Cut constrain: ToFR ⊗ ToFL
全体的に分布が削られただけのように見える…

## Slide 18: Difference of TDC: Peak structure
Fit w/ 3 gaussian.
For each peak, chose ±σ region.
Check QDC dist. of these event.
Magenta : ver.1
Green: ver.2
Orange: ver. 3

## Slide 22: To do next
Cosmic: Test 5t × 44w mm scintillator
Making Poster
Prepare B4 thesis presentation

## Slide 23: Back up

## Slide 24: Status of ToF cosmic: run076 (2020. 03. 07 15:24 時点)

## Slide 26: run076: Vb=44.7 V, t=5, w=22 mm

## Slide 27: run076: Vb=44.7 V, t=5, w=22 mm

## Slide 28: run076: Vb=44.7 V, t=5, w=22 mm

## Slide 30: run078: Vb=41.7 V, t=5, w=22 mm

## Slide 31: run078: Vb=41.7 V, t=5, w=22 mm

## Slide 32: run078: Vb=41.7 V, t=5, w=22 mm

## Slide 33: run078: Vb=41.7 V, t=5, w=22 mm