## Slide 1: Status report #9
2019. 12. 24 (Tue)
B4 T. FUJIWARA
Beam time at ELPH
  Preparation new ToF counter
  Rough result

## Slide 2: New ToF counter
Making the frame for setting ToF counter with acrylic board & aluminum frame

## Slide 3: Signal of new TOF counters
ベータ線源無, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのsignal
  TOF-R R1

## Slide 4: Signal of new TOF counters
ベータ線源無, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのsignal
  TOF-R R2

## Slide 5: Signal of new TOF counters
ベータ線源無, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのsignal
  TOF-L L1

## Slide 6: Signal of new TOF counters
ベータ線源無, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのsignal
  TOF-L L2

## Slide 7: Signal of new TOF counters -1-
ベータ線源有, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのMIP
  TOF-R R1
位置 | pulse height [mV]
center | 600
near | 800
far | 500

## Slide 8: Signal of new TOF counters -2-
ベータ線源有, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのMIP
  TOF-R R2
位置 | pulse height [mV]
center | 450
near | 700
far | 400

## Slide 9: Signal of new TOF counters -3-
ベータ線源有, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのMIP
  TOF-L L1
位置 | pulse height [mV]
center | 450
near | 600
far | 400

## Slide 10: Signal of new TOF counters -4-
ベータ線源有, PMamp + 印加電圧: V=44.7V(= Vop + 3.0V) でのMIP
  TOF-L L2
位置 | pulse height [mV]
center | 600
near | 800
far | 500

## Slide 11: Making T1s & T2 frame
T1 : acrylic board, use only ~3cm length direction of beam
T2: aluminum frame ~5cm

## Slide 12: At ELPH
Setting on the frame with other detectors
R1
L2
L1
R2

## Slide 13: Taking data
Study bias voltage and threshold dependence
bias voltage: 41.7, 43.2, 43.7, 44.7, 45.7, 46.2, 47.7, 49.2, (49.7, 50.7, 51.7, 52.7, 53.7, 55.2, 56.7)
threshold: about~-30mV, ~-50mV(initial + 20), ~-100mV(initial + 70), ~-150mV(initial + 120)
  Initial value [mV]: R1 : -31.4, R2: -25.0, L1: -24.5, L2: -34.7
Total : 45 points taking

## Slide 14: Rough result
Sorry but I have only rough result...
(forget copying figure from ELPH machine to my pc...)
For example: run0123(V=44.7, threshold ~-50mV)

## Slide 15: Rough result
HV dependence

## Slide 16: To Do next
Data analysis → より詳細に...(time walk correction, event selection)
(Preparation for hyper nuclear seminar)
皆様，良いお年を…
Have a good year...