## Slide 1: Status Report #3
2019.11.1 Fri
B4 Fujiwara Tomomasa

## Slide 2: What I have done
Entry for Scholarship
ROOT study

## Slide 3: ROOT
Leaning analysis procedure using ROOT
Goal: Evaluate time resolution of MPPC S14400-3015
β-ray source
MPPC1(S14400-3015)
MPPC2(S14400-3015)
〈Setup of measurement〉
QDC
QDC
Discriminator
TDC
TDC
AND
Trigger

## Slide 4: ROOT
Calculate TOF from MPPC1.TDC & MPPC2.TDC:
TOF = MPPC1.TDC – MPPC2.TDC
: Time resolution of TOF, : Time resolution of MPPC1 & 2
Assuming ,

## Slide 5: ROOT
TDC: output only when
TDC: depend on shape pulse → necessary of correction: Time walk correction
time
time
Raw sig.
TDC
Vth
time
time
Raw sig.
TDC
Vth

## Slide 6: ROOT
Time walk correction
After correction,
TOF
QDC
TOF
QDC

## Slide 7: In Progress
Before
  Plot TDC vs. QDC1&QDC2
QDC1 [ch]
QDC2 [ch]
TDC1 [ch]
TDC2 [ch]

## Slide 8: In Progress
Plot TOF vs. QDC1, QDC2

## Slide 9: In Progress
Pedestal(run No.0047)
  Fit using gassian

## Slide 10: In Progress
For time walk correction, focus on TOF vs QDC1 & 2 dist.
Pick up bins with large entry
16<QDC2<26 [pC]
Under this condition,
Calibrate TOF vs. QDC1

## Slide 11: In Progress
↑
Additional condition, 26<QDC1<30 [pC]

## Slide 12: In Progress
↑ vs. QDC2
TOF vs. QDC2 under gate conditions

## Slide 13: In Progress
↑修正したTOF(dec.TOF)をカットオフを外し、すべてプロット

## Slide 14: In Progress
←Dist. TOF = dec.TOF1 - dec.TOF2
Really, want to make macro file
I couldn’t solve error…
→ to do next!

## Slide 15: To do
Work hard time resolution analyze
  Learn macro
FPGA Seminar (11.7～8)