## Slide 1: Status Report #4
2019.11.14 Thu
B4 Fujiwara Tomomasa
FPGA Seminar
evaluate time resolution MPPC

## Slide 2: Time resolution of MPPC: setup
Leaning analysis procedure using ROOT
Goal: Evaluate time resolution of MPPC S14400-3015
β-ray source
MPPC1
MPPC2
〈Setup of measurement〉
QDC
QDC
Discriminator
TDC
TDC
AND
Trigger

## Slide 3: Time resolution of MPPC
Calculate ToF from MPPC1.TDC & MPPC2.TDC:
ToF = MPPC1.TDC – MPPC2.TDC
: Time resolution of ToF, : Time resolution of MPPC1 & 2
Assuming ,

## Slide 4: Time walk correction
TDC: output only when
Rise time of TDC
→vary by pulse height

## Slide 5: Time walk correction
Time walk correction
After correction,
QDC1
QDC

## Slide 6: In progress: Constraints for data
Before → constrain with MPPC2.QDC
New → constrain with MPPC1.QDC
  → cutoff;
vs. QDC_2
vs. QDC_1

## Slide 7: In progress
w/ cutoff
QDC2 vs. (TDC1 – TDC2), after correction
Over correction…
fit parameter x0.9 ➡ Work out? (by 永尾さん)

## Slide 8: In progress
Result of fitting:
0.80*p20
next cutoff: 17.< QDC2 < 36. [pC]

## Slide 9: In progress
(TDC1 – TDC2) vs. QDC1 w/cutoff Q2
After correction

## Slide 10: In progress
Result
⇒[psec]

## Slide 11: In progress
assume another functional type:
after correction

## Slide 12: In progress
QDC1
QDC1

## Slide 13: In progress
Reslut: fitting w/ 2gaussian
⇒[psec]

## Slide 14: To do next
evaluate time resolution of other run data
⇒compare among different condition
日本物理学会会員登録・物理学会申し込み