## Slide 1: Status Report #5
2019.11.22 (Fri)
B4 FUJIWARA Tomomasa
ROOT&G4 Seminar
Evaluate timing resolution MPPC
What I have done

## Slide 2: Evaluate timing resolution MPPC
analyze timing resolution of MPPC under different conditions
  Focus on value of “Vb”
Before: beta0046(data) & 0047(Pedestal) ⇒
This time :
    Vb =41.7V (0042 & 0043)
    Vb =44.7V (0044 & 0045)
    Vb =50.7V (0049 & 0048)
    Vb =53.7V (0050 & 0051)
= 54 psec

## Slide 3: Evaluate timing resolution MPPC: case of Vb =44.7V
↓ (r.T1 – r.T2)vs.Q1&Q2
Cutoff: 18.7<Q1 [pC]<22.4, after twc

## Slide 4: Evaluate timing resolution MPPC: case of Vb =44.7V
Cutoff: 14.0<Q2 [pC]<22.7
Result: ToF dist.
Vb =44.7V
  [psec]
  ⇒ [psec]

## Slide 5: Evaluate timing resolution MPPC: case of Vb =41.7V
↓ (r.T1 – r.T2)vs.Q1&Q2
After Q1 selection

## Slide 6: Evaluate timing resolution MPPC: case of Vb =41.7V
Result: ToF dist.
Vb =41.7V
  ⇒[psec]
  ⇒ [psec]
Over
Bad resolution… Really??

## Slide 7: Evaluate timing resolution MPPC: case of Vb =41.7V
Modify twc functional type:
Constrain fit range:
13.0<Q2 [pC]< 16.0
Still over …

## Slide 8: Evaluate timing resolution MPPC: case of Vb =41.7V
Modify fit parameter twc function:
Search good for 1.00~0.700 in step with 0.025
⇒ x0.825 is good?

## Slide 9: Evaluate timing resolution MPPC: case of Vb =41.7V

## Slide 10: Evaluate timing resolution MPPC: case of Vb =41.7V
Cut: Q1 > 11.0pC

## Slide 11: Case of high Vb region
Strange structure
???

## Slide 12: Evaluate timing resolution MPPC: case of Vb =50.7V

## Slide 13: Evaluate timing resolution MPPC: case of Vb =50.7V
σToF = 76.9 psec
σ MPPC= 54.4 psec

## Slide 14: Evaluate timing resolution MPPC: case of Vb =53.7V

## Slide 15: Evaluate timing resolution MPPC: case of Vb =53.7V

## Slide 16: Evaluate timing resolution MPPC: case of Vb =53.7V
σToF = 72 psec
σ MPPC= 51 psec

## Slide 17: Result

## Slide 18: Next to do
Continue analyzing time resolution of MPPC
ROOT & G4 seminar
Report of lecture(deadline: 12.6)
Prepare for detector seminar